NEWPORT HOUSING AUTHORITY

120B HILLSIDE ROAD

NEWPORT, RI 02840

PROJECT

DAVON MANOR PARKING ADDITION, UPGRADES & SITE CAPPING PROJECT

NEWPORT, RI.

October 26, 2026, 2026

TO ALL BIDDERS:

Addendum forms are a part of and modify the bidding requirements and Request for Proposal for the subject Project

ADDENDUM 4

Attached is the site plan prepared by SAGE Environmental, dated October 19, 2026, for the Donovan Manor Parking Lot Improvements and Site Capping Project.

The plan identifies the existing mature trees and shrubs that are to remain, along with the proposed 3- to 4-foot buffer areas surrounding these plantings. These areas are to receive 4 inches of crushed stone over geotextile fabric as part of the site capping work.

Please review the plan and take these details into consideration when reviewing the project scope and associated quantities.

The SAGE Environmental site plan will be provided as a separate attachment to this addendum and should be reviewed in conjunction with the project drawings and specifications.